## Slide 1: MATLAB Control of Keysight Scopes
Diego Sena
Professor Eric Bogatin
Summer 2023

## Slide 2: Agenda
Goals and Objectives
So What? Why is this Important?
Test Plan
Applications
Conclusion
Future Work
Takeaways

## Slide 3: Goals and Objectives
Create a software defined instrument (SDI) with the KEYSIGHT Scope with MATLAB
Analyze the bandwidth of the scope and scope cables

## Slide 4: So What? Why is this important
To characterize the maximum frequency sampleable by the scope and scope cables
To confirm the manufacturer’s specifications
Tells engineers what signals they can and can’t measure with each piece of equipment (for this equipment AM to FM frequencies)

## Slide 5: System Diagram
Oscilloscope
MATLAB
Transfer Function
Output
Function Generator
Input
Control
Data

## Slide 6: Test Plan
Test Signal:
  1Vpp 10 MHz Sin Wave
Compare:
  An Ideal 10 MHz Sin Wave
  Measured a 10 MHz Sin Wave
Expected Output:
  The ideal and measured data and calculated FFT should line up as they are the same signal.

## Slide 7: Consistency Test 1: 10 MHz Sin Wave
Oscilloscope
Function Generator
Input:
10MHz
Sin Wave

## Slide 8: Consistency Test 1: 10 MHz Sin Wave FFT
Oscilloscope
MATLAB
Control
Data
Measurement Noise Floor
Computer Noise Floor

## Slide 9: Finding Bandwidth of Oscilloscope

## Slide 10: LogLog FFT of Square Wave
10 MHz Primary Component
Oscilloscope
MATLAB
Control
Data
Noise Floor
Even Harmonics
Odd Harmonics

## Slide 11: LogLog FFT Harmonics Only
Duty Cycle is 50.167%
Even Harmonics
Odd Harmonics

## Slide 12: Transfer Function of the Scope
MATLAB
Transfer Function
Output
3dB Down Point
Corner Frequency at 270 MHz

## Slide 13: Conclusion
Confirmed the scopes 200MHz filter which is closer to 270MHz filter to allow for user error going up to the 200MHz filter
With the high-speed square wave creates harmonics that allow for characterizing oscilloscopes and scope probes

## Slide 14: Future Work
Check different scope probes bandwidths
Check different oscilloscopes bandwidths

## Slide 15: Lessons Learned
The IVI documentation was written with specifications and requires reverse engineering
The manufacturer’s specifications are not actually what the specifications are, and they design for leeway.

## Slide 16: Acknowledgement
Thank you to Professors Bogatin and Piket-May
Thank you to CU-SPUR program for the opportunity
Thank you to EEF for funding my research
Thank you to Colorado Mesa University and University of Colorado Boulder

## Slide 17: Questions

## Slide 18: Literature Search, Background
Understand DFT and FFTs
IVI library
MATLAB
Square Wave DFT